## Slide 1
Presented by Joe Tusek - Convener
Hobart – 15/11/2018

## Slide 2
ATC Seminar 2018

## Slide 3
ATC Seminar 2018
SF6 Alternatives
  HFO1234zeE
  C4F7N/CO2/O2
  C5 perfluorinated ketone
  Vacuum to 145kV heading for 245kV
  Alternative gases with GWP <1 are now being commercialised. Vacuum breaker to voltages of 145kV will be for sale in 2019. Organisations need to start thinking about gas handling and certification.
Moderate through faults directly linked to failures
  11 high current event in 3 days
  Below protection operation levels
  Direct input into Condition Index and maintenance
  Improvements to maintenance and cost outcomes through better monitoring of network currents.
2018 Paris Session
Picture/graphic for highlight 1

## Slide 4
ATC Seminar 2018
Transformer Oil Moisture Dynamics
  New knowledge on monitoring moisture dynamics
  Capacitive moisture sensor
  Enables better control of paper/oil moisture
  Will enable reduced moisture related degradation and risk.
Recovery of Hydrophobicity in Polymeric Insulators
  Restored properties after cleaning
  Hours
  Better understanding and management of polymeric insulation.
2018 Paris Session
Picture/graphic for highlight 3
Picture/graphic for highlight 2

## Slide 5
ATC Seminar 2018
Highlight
  Meeting held 6-7 Nov 2018 in Newcastle
  New developments
    Wooden pole condition assessment
    DC arcing fault detection
    Transformer Frequency Response Analysis
    VT calibration with gas capacitors
    Performance of DC dividers for very fast transients
  Participating in WG’s
  Convenors for WG D1.60, D1.50, D1.69 and D1.71
  D1 is a hub for know-how in measurement, testing and diagnostics. Through a combination of industry, academia
2018 AU/NZ D1 Activities
D1.48 | Properties of insulating materials under VLF voltages
D1.59 | Methods for dielectric characterisation of polymeric insulating materials for outdoor applications
D1.60 | Traceable measurement techniques for very fast transients
D1.50 | Atmospheric and altitude correction factors for air gaps and clean insulators
D1.69 | Guidelines for test techniques of High Temperature Superconducting (HTS) systems
D1.71 | Understanding and mitigating corrosion

## Slide 6
ATC Seminar 2018
D1 Papers
  D1-310 Parametric Frequency Response Interpretation using Frequency Localising Basis Functions - J. Tusek
  D1-320 Steep-front impulse voltage tests on high-voltage equipment – Dr Y. Li
  A2-302 The Emerging Role of FRA as a Required Commissioning Test - J. Tusek
  C6-312 Learning from a 3.275 MW Utility Scale PV Plant Project: Update and New Remarks – Prof T. Saha.
  Carrying out fundamental research in FRA to eliminate most measurement errors.
2018 AU/NZ D1 Activities

## Slide 7
ATC Seminar 2018
Technical Brochures
TB XXX – Understanding and mitigating corrosion.
TB 741 - Moisture measurement and assessment in transformer insulation - Evaluation of chemical methods and moisture capacitive sensors - 2018
TB 738 - Ageing of liquid impregnated cellulose for power transformers- 2018
TB 730 - Dry air, N2, CO2, and N2/SF6 mixtures for gas-insulated systems - 2018
TB 706 - Guidelines for the use of statistics and statistical tools on life data - 2017
TB 705 - Guidelines for altitude correction of pollution performance of insulators - 2017
TB 703 - Insulation degradation under fast, repetitive voltage pulses - 2017
TB 691 - Pollution test of naturally and artificially contaminated insulators - 2017
TB 676 - Partial discharges in transformers – 2017
2018 Deliverables