## Slide 1
Presented by Wayne Pepper - Convener
Hobart – 15/11/2018

## Slide 2
ATC Seminar 2018
A3 Poster and Technical Session
  New format in poster sessions using PowerPoint presentation on display screens. A3 Poster session convenor was AP-A3 representative.
  A3 technical session introduced new format, with a lesser number of accepted but quality contributions, combined with experts giving 15 minute technical discussion on the relevant topics, such as Controlled switching, HV equipment type testing, HVDC circuit breaker design, and technical comparison of SF6 free gases.
  A3 Papers relevant to Australia/NZ included topics on:-
    Instrument Tx explosive failures
    Equipment usage in digital substations
    Outdoor insulators
    Capacitive current switching
2018 Paris Session

## Slide 3
ATC Seminar 2018
Technical Exhibition
  Three major Gas-Insulated-Switchgear equipment suppliers had demonstration units showing the future for high voltage SF6 free switchgear.
  Each Paris Session presents the opportunity to show development of SF6 free HV equipment.
  Session papers are written in A3, B3 and D1 SC’s detailing the development works done, further type testing and results of trials being carried out in this area.
  WG’s have been established to in several SC’s to look at different facets of the SF6 free gas mixtures. A3 is looking into switching performance of the different gases.
  For Australia, since the carbon tax was repealed in 2014 there has been little emphasis on reducing SF6 usage, however it is envisaged with mandated legislation in other counties to wind back SF6 usage, the newer SF6 free alternatives will be taken up here.
  Most users would like a greenhouse friendly alternative to SF6, a gas that can has the same technical features and similar usability.
2018 Paris Session

## Slide 4
ATC Seminar 2018
SC A3
  A3 had change of name to include Distribution equipment.
  New A3 SC Convenor commenced following Paris Session – with technical experience from the Distribution equipment area.
  Additional eight A3 SC representatives to cover Distribution equipment area.
  Initiated new Equipment reliability survey covering 2014 -2017 period. Retrospective survey using spreadsheet to capture data.
  3 WG’s completed their activities, with 3 new WG’s commencing and another 3-4 WG’s to start in 2019. Currently 10 WG’s active.
  In September 2019, A3 SC meeting will be in Bucharest, Romania, with Condition Monitoring, Diagnosis and Maintenance (CMDM) conference.
2018 International Activities

## Slide 5
ATC Seminar 2018
  2018 AP-A3 Meeting in Hobart this week hosted by TasNetworks
  10 attendees
  Discussion points:-
    Local and International CIGRE matters since last meeting – 2017 A3 SC and 2018 Paris session, A3 SC matters, WG activities and surveys
    Utility and Vendor reports – New equipment, ageing equipment risk assessments, equipment failures presentations, procurement issues, SF6 management and equipment leak issues
  Tour of Creek Road 110/33kV Substation
  AP A3 providing information to A3 WG surveys on capacitor switching and reliability survey.
  AP-A3 provided Paris Session A3 Technical contribution on Instrument Tx failures
  AP A3 member on new WG on IT failure analysis
2018 AU/NZ Activities
Photo from AP A3 substation tour to be inserted following meeting on Wednesday

## Slide 6
ATC Seminar 2018
Technical Brochures
  TB 737 – Non-intrusive methods for condition assessment of distribution and transmission switchgear.
  TB 725 – Aging high voltage substation equipment and possible mitigation techniques (AU WG convenor).
  TB 716 – System condition for and probability of out-of-phase – (A3/B5/C4).
Green Book
  A3 Green Book – “Switching Equipment” published in August 2018
    AU contribution to chapter on “Lifetime Management of Equipment”
  Contributing to a chapter in future C1 Green Book on “Asset Management”
2018 Deliverables