## Slide 1
Presented by John McCormack - Convener
Hobart – 15/11/2018

## Slide 2
ATC Seminar 2018
B2 Paper & Poster Sessions; WG research and presentations
  a) OHL Asset Management: evolution from time-based to condition-based monitoring & replacement strategies for assessment of conductors and hardware components
  Relevance to AU/NZ: Asset management practices in Australia are well advanced and some utilities have advanced beyond condition based component assessment and introduced risk based Asset Mgt practices.
  b) Sustainability of OHL components:
  i) Mitigation of extreme corrosive : Case Study - galvanised coatings stripped from lattice towers after only 5 years of service in coastal regions of Peru.
  ii) Residual life of OHL conductor & fittings: Component degradation models; Asset condition monitoring technologies.
  Relevance to AU/NZ: Evaluation of residual life and developing cost-effective methods for asset life extension of are paramount for all utilities managing an aging asset base.
2018 Paris Session: Highlights

## Slide 3
ATC Seminar 2018
B2 Paper & Poster Sessions; WG research and presentations
  c) OHL Security: network-wide structure refurbishment to reduce risk exposure of line failures subject to extreme weather events
  Relevance to AU/NZ: I’m from South Australia – do I need to say more!
2018 Paris Session: Highlights
2. Paris Tutorials
  SCC3 EMF - Time to Reassure: update on current understanding of EMF effects on human physiology
  Magnetic field varies across the earth; In Paris, the field is about twice the strength as Brazil.
  Current research continues to conclude that EMF is highly UNLIKELY to be harmful to humans.
  Interesting fact: When next in the Palais des Congress, rotate 360 degrees within 1 second & you will experience an electric field 5x higher than recommended for sustained exposure. You can inform curious bystanders you are conducting a scientific experiment (whilst being removed by security).
  Research continues…. the I/N Agency for Research into Cancer still lists EMF as a “possible” cause of cancer.
  Relevance to AU/NZ: All AU/NZ utilities adopt a policy of at least “prudent avoidance” regarding EMF exposure to the public. There are cases where utilities have been required to take significant measures to comply with external socio-community planning conditions to reduce EMF fields.

## Slide 4
ATC Seminar 2018
3. Women In Engineering
  300+ attendees including around 25% male CIGRE members
  Women represent 8% CIGRE members whom actively contribute to WG’s; 10% of WG convenors; 4 of the 16 SC Chairs; approx. 12% total CIGRE membership.
  At the highest level, CIGRE management support & encourage the active contribution of women in the industry.
  Presentations focussed on exhorting women to take up the challenge.
  Good coffee, croissants and fruit provided for lunch.
  Relevance to AU/NZ: Most, if not all, power industry participants actively seeking to engage with and encourage women into the industry in engineering and other technical roles.
2018 Paris Session: Highlights
2. Paris Tutorials (cont)
  SCB2 HTLS conductor installation & handling: summary of WG findings/conclusions
  HTLS (High temperature low sag) conductor is installed in circuits to improve power line transfer capability; typically used by utilities constrained from establishing new OHL corridors
  Operated at 200-250ºC; resultant sag is similar to conventional conductor
  Disadvantages: high losses, cost, some HTLS require specialised skills/tools to install.
  Relevance to AU/NZ: To date, a small number of circuits in Australia comprise HTLS conductor. Widespread deployment is unlikely until local utilities are faced with the same constraints as their European counterparts.

## Slide 5
ATC Seminar 2018
4. SCB2 TAG07 Asset Management and Reliability
  AP member appointment as TAG07 Convenor
  New Developments of TAG07 Strategy:
  - selection of regional representatives to focus on local industry needs
  - focus groups/task force appointed to identify potential areas of interest for future WG
  - Proposed new topics include:
  * Asset Management principles – ask the “why” (WG typically focussed on the "how”)
  * Construction technology and safety (incl Helicopter construction)
  * Logistics Management for Emergency Restoration of OHL
  Safety in Design
  (* = TAG07 members appointed at Paris TAG07meeting to lead development of ToR)
  Relevance to AU/NZ:
  - Opportunity to directly influence B2 strategic direction for the benefit of AU/NZ members
  - Nomination of potential AU/NZ convenors to expedite greater level of involvement and return to local industry.
2018 Paris Session: Highlights

## Slide 6
ATC Seminar 2018
Strategy:
  Engage with broader industry (eg DNSP, Research Establishments, potential members)
  Invite targeted persons to interact with APB2 via CiGRE KMS “Specialist” status
  Encourage NGN participation
2018 AU/NZ Activities – APB2
Panel Meeting – Hobart, November 2018
WG progress reports
ToR review – UAV’s, MV/LV conductor, Risk Management, Foundations, Lightning performance, OHL assets & fire
Case Studies:
    Novel structure designs for European OHL
    Safe Management of Helicopter Line Construction
    Conductor noise testing
    Conductor Degradation & Serviceability assessment
    Dynamic Line Rating
NGN presentations
    Mitigation Strategies for Bird Strikes on OHL
    WG 55 Tutorial: Conductors for the Uprating Overhead Lines
29 Attendees including 6 invited guests, and 3 NGN reps, ANC representative (Terry Killen)
Next Panel Meeting & Technical Seminar – Sydney, 2019
Seminar Theme: Asset Performance of OHL Assets (tbc)

## Slide 7
ATC Seminar 2018
Technical Brochures
2018 Deliverables: Publications
Picture/graphic for highlight 1
WG | Title | Status | Ref.
B2.23 | Geotechnical and structural design of foundations for HV & UHV Lines | Final draft due 2018 | 
B2.24 | Qualification of HV and UHV Overhead Line Supports under static and dynamic Loads | Final draft due 2018 | 
B2.40 | Calculations of the electrical distances between live parts and obstacles for OHL | Final draft Early 2019 | 
B2.45 | Vegetation fire characteristics and potential impacts on OHL performance | Publication pending (2019) | 
B2.47 | Guide for repair of conductors & conductor fitting systems | Published 2017 | TB 708
B2.48 | Experience with non-conventional conductor | Published 2017 | TB 695

## Slide 8
ATC Seminar 2018
Technical Brochures
2018 Deliverables: Publications
Picture/graphic for highlight 1
WG | Title | Status | Ref.
B2.50 | Safe handling of fittings and conductors | Final review Due 2018 | 
B2.51 | Methods for optimized design of overhead transmission lines | Published 2016 | TB 638
B2.52 | The use of robotic in assessment and maintenance of OH | Published 2018 | TB 731
B2.53 | Management guidelines for outsourcing OHTL technical expertise | Publication pending (2019) | TB 744
B2.55 | Conductors for the Uprating of Existing Overhead Line | Final Draft Due 2018 | 
B2.56 | Ground Potential Rise at Overhead AC Transmission Line Structures during Faults | Published 2018 | TB 694

## Slide 9
ATC Seminar 2018
2018 Deliverables: Publications
Picture/graphic for highlight 1
WG | Title | Status | Ref.
JWG C3/ B1/B2.13 | Environmental Issues for Transmission Lines in Rural & Urban Areas | Final review Due 2018 | 
 | Calculation accuracy of high-temperature sag for ACSR in existing lines | Published June 2017 | CSE 7
 | Efficient Computation and Experimental Validation of ACSR OHL Conductors under Tension and Bending | Published October 2017 | CSE 9